## FRM_305
|  |  | INSPECTION PROGRAM RELEASE CHECKLIST |  |  | Form Code |  | FRM-305
[6 empty] | Revision |  | Rev.01
[6 empty] | Eff. Date |  | 2026-03-23
|  |  | Quality Management System · Controlled Document |  |  | Owner |  | QA
|  |  | HESEM Engineering · ISO 9001 / AS9100 · Semiconductor Equipment Parts |  |  | Approved |  | QA Manager
1. REFERENCE INFORMATION
Part No. / Revision |  |  |  | CMM Program Name / Rev
Release Date |  |  |  | Programmer
2. PROGRAM VERIFICATION
# | Cat. | Check Item |  |  | Acceptance Criteria |  | Result |  | Owner
| QUA | Program aligns with drawing dimensions. |  |  | All critical dims included in program.
| QUA | Datum structure matches drawing GD&T. |  |  | Alignment strategy correct per drawing.
| QUA | Fixture / holding method documented. |  |  | Part orientation repeatable.
| QUA | First run on known-good part: results match manual. |  |  | Delta < measurement uncertainty.
| QUA | Output format meets customer / CoC requirements. |  |  | Report template correct and readable.
| QUA | Program archived in controlled location. |  |  | Version control applied, backup created.
3. APPROVAL
Programmer |  |  |  | QA Manager
Name / Signature / Date |  |  |  | Name / Signature / Date
NOTICE — One form per CMM program release. Program must not be modified without new release. Ref: SOP-301. Retain: 10 years.
Note on A9: Mã chi tiết / Phiên bản Part mà chương trình kiểm tra áp dụng.
Note on U9: Tên chương trình CMM / Phiên bản Tên file và revision. Ví dụ: HES1234-CMM-R02.dcc
Note on A10: Ngày release Ngày phê duyệt chương trình kiểm tra.
Note on U10: Lập trình viên Người viết chương trình CMM.
Note on A12: Xác nhận chương trình kiểm tra Kiểm tra chương trình CMM trước khi đưa vào sản xuất.
Note on F14: Khớp bản vẽ Tất cả critical dimensions phải có trong chương trình.
Note on F15: Cấu trúc datum Datum A/B/C alignment phải đúng theo GD&T bản vẽ.
Note on F16: Đồ gá CMM Phương pháp giữ part trên CMM phải lặp lại được.
Note on F17: Chạy thử Đo part đã biết bằng tay → so sánh với kết quả CMM. Chênh lệch phải < measurement uncertainty.
Note on F18: Format báo cáo Báo cáo CMM đúng format khách hàng yêu cầu.
Note on F19: Lưu trữ Lưu chương trình trong thư mục kiểm soát. Backup trên server.

## LISTS (hidden)
RESULT | DECISION | STATUS | RISK | YES_NO | DEPT | GATE
PASS | APPROVED | OPEN | LOW | YES | SALES | CONTRACT REVIEW
HOLD | REJECTED | IN PROGRESS | MEDIUM | NO | ENG | FIRST ARTICLE
FAIL | CONDITIONAL | CLOSED | HIGH | NA | PLANNING | IN-PROCESS
NA | ON HOLD | MONITORING | CRITICAL |  | PROD | FINAL
[5 empty] | QA | SHIPPING
PUR
WHS
IT
HR
MGT